## Template
Template Description |  | Properties |  |  | Alarms |  |  | References |  |  | Relationships
Name | Types | Name | From | Example Address | Name | From | Example Address | Name | Asset | Property | Name | In / Out

## Agitator
Template Description |  | Properties |  |  | Alarms |  |  | References |  |  | Relationships
Name | Types | Name | From | Example Address | Name | From | Example Address | Name | Asset | Property | Name | In / Out
Agitator | Agitator
Fixed Speed Drive | Drive
E3P
Variable Speed Drive | Drive
VSD
Variable Speed Pump | Pump
Fixed Speed Pump | Pump
Mushroom Control Valve | Mushroom Valve
Control Valve
Butterfly Control Valve | Butterfly Valve
Control Valve
Knife On/Off Valve | Knife Valve
On-Off Valve
Knife Control Valve | Knife Valve
Control Valve
Manual Knife Valve | Knife Valve
Manual Valve
Manual Ball Valve | Ball Valve
Manual Valve
Level Controller | Level Controller
Level Alarm Monitor
Pressure Controller | Pressure Controller
Pressure Alarm Monitor
Flow Controller | Flow Controller
Flow Alarm Monitor
Manual Butterfly Valve | Butterfly Valve
Manual Valve
Manual Globe Valve | Globe Valve
Manual Valve
Density Controller | Density Controller
Density Alarm Monitor
Air Flow Controller | Flow Controller
Flow Alarm Monitor
Air Flow Controller
Butterfly On/Off Valve | Butterfly Valve
On-Off Valve
Horizontal Belt Filter | Belt Filter
Conveyor
Speed Controlled
Crusher | Driven
Crusher
Conveyor | Conveyor
Speed Controlled
Over-Belt Magnet | Over-Belt Magnet
Driven
VSD Feeder | Feeder
Speed Controlled